Town of Quintana

814 N. Lamar

Quintana Beach, TX  77541

979-233-0848 Office

979-239-1815 Fax

Consumer Confidence Report Notice

Public Water System Name: TOWN OF QUINTANA

Public Water System ID: 0200510

Type of Violation: TTHM MCL, AVERAGE

Time Period of Violation: FOURTH QUARTER 2012

Residents:

The Texas Commission on Environmental Quality (TCEQ) has notified the Town of Quintana water system that the drinking water being supplied to customers had exceeded the Maximum Contaminant Level (MCL) for trihalomethanes. The U.S. Environmental Protection Agency (U.S. EPA) has established the MCL for total trihalomethanes at 0.080 milligrams per liter (mg/L) based on a running annual average (RAA), and has determined that it is a health concern at levels above the MCL. Analysis of drinking water in your community for total trihalomethanes indicates a compliance value in quarter four 2013.

Trihalomethanes are a group of volatile organic compounds that are formed when chlorine, added to the water during the treatment process for disinfection, reacts with naturally-occurring organic matter in the water.

Some people who drink water containing trihalomethanes in excess on the MCL over many years may experience problems with liver, kidney, or central nervous system, and may have an increased risk of getting cancer.

You do not need to use an alternative water supply. However, if you have health concerns, you may want to talk to your doctor to your doctor to get more information about how this may affect you.

We are taking steps to permanently correct the problem.  We are nearing completion of blending the compliant well into the non-compliant wells bringing them into compliance. Construction on this project began March 12, 2012 and is now pending electrical work. During this time of testing, the lines were being disinfected, and a pump was broken at one plant that caused peaks and valleys in the chlorine levels. The trihalomethanes are a by-product of this.  Please remember that there is a water dispensing machine that is free for all residents located at the bottom of Town Hall for ease of access as an alternative.

Please share this information with all people who drink this water, especially those who may not have received this notice directly (i.e., people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

If you have any questions regarding this matter, you may contact Town Hall at 979-233-0848

Posted/Delivered On: December 26, 2013